# Automated Image Analysis for Array Hybridization Experiments

Matthias Steinfath, Wasco Wruck, Henrik Seidel, Hans Lehrach, Uwe Radelof and Joho O’Brien

Bioinformatic, Vol. 17, No. 7, pp. 634-641, 2001

- Introduction

Image analysis is a major part of data evaluation for array hybridization experiments in molecular biology. In this paper two different kinds of hybridization experiments are under consideration: Oligonucleotide fingerprinting and complex hybridizations.

- Image rotation

Since the array is often not parallel to the image edge, the estimation of the rotation angle is necessary.

We determine the array rotation as the median of the angles of the four edges relative to the image border. To find the rotation angle of the upper edge of the spot array the following procedure is applied:

- Find for each column xj on the left half of the image the first pixel yj with intensity > 0 ;

- Calculate the histogram of the vertical values of these pixels and determine its first maximum yml ;

- Take the leftmost column xl for which yml – 2 < yj < yml + 2 holds;

- Repeat the above steps for the right half of the image to find the corresponding column, xr and row ymr .

This way we find two points (xl, yml) and (xl, ymr), which constitutes a line. The angle between this line and upper image edge is taken as rotation angle of the upper edge of the spot array.

- Background noise

If a nylon filter is used as support there are three kinds of background noise: the histogram of pixel intensities has a first maximum for the background, a second if we use nylon filter as support for filter socket and a third if there are enough spots which yield a signal. The histogram of pixel intensities has therefore normally three maxima corresponding to these background noise.

Created by : Jih-Wei Huang

Date : May 16, 2001